| INCIDENT PLANNING GUIDE DOES YOUR EMERGENCY OPERATIONS PLAN ADDRESS THE FOLLOWING ISSUES? |  |
| --- | --- |
| MITIGATION & PREPAREDNESS |  |
|  | Does your nursing home have a plan to address flooding on the grounds and measures to prevent water from flowing into the facility (sandbags, pumps, etc.)? |
|  | Does your nursing home have a plan to address possible loss of water/pressure, water contamination, sewer back-up, power failure, and loss of operations due to area or facility flooding? |
|  | Does your nursing home have procedures to communicate situation and safety information to staff and residents that are not in the flooded/potentially flooded areas? |
|  | Does your nursing home have an alternate staffing plan and a process to support on-duty staff should they be unable to leave the facility due to flooding? |
|  | Does your nursing home have a Memorandum of Understanding (MOUs) with fuel suppliers to ensure a supply of fuel for emergency generators and vehicles? |
|  | Does your nursing home have a plan to maintain water and sanitation systems, including providing personal hygiene/sanitation supplies (i.e., hand wipes, portable toilets, potable water)? |
|  | Does your nursing home consider relocating hazardous materials/chemical agents to prevent contamination in case of flooding? |
|  | Does your nursing home regularly monitor pre-event weather forecasts and projections? |
|  | Does your nursing home participate in pre-event local response planning with emergency management officials? |
|  | Does your nursing home identify and/or have MOUs with contractors that can perform repairs after the flooding? |
|  | Does your nursing home have plans to protect or recover lost data or wet/damaged documents? |
|  | Does your Emergency Operations Plan include triggers or criteria for activation of the Emergency Operations Plan, Incident Command, and the Command Center? |
|  | Does your nursing home have a process for regularly assessing the status of the facility, repair, resident services, and system restoration and for staffing and adjusting the Incident Action Plan and operations accordingly? Does the process include regularly updating the Incident Action Plan and reviewing decisions made/actions taken to accomplish the mission? |
|  | Does your nursing home have procedures and forms to track cost expenditures and provide reports? |
|  | Does your nursing home have procedures with clear routes of communication to gather and confirm situation reports and status updates from local emergency management and regulatory agencies? Is there a plan to communicate with the local EOC (emergency management, public health, regulatory agencies) about the situation status, critical issues, and resident health status and to request assistance? |
|  | Does your nursing home have a plan to notify and maintain communications (primary and back-up systems) and exchange appropriate information with: Internal experts, including infection control, engineering/facilities, physician(s). External experts, including local, regional and state public health, EOC/emergency management, fire, police, regulatory agencies. Other local facilities and hospitals. |
|  | Does your nursing home have procedures to provide accurate and timely situation and safety information (in cooperation with local Joint Information Center) to staff, residents, and families and a back-up system if primary communication systems fail? |
|  | Does your nursing home have procedures to determine the status of communication systems outside of the facility in order to communicate with local emergency management, regulatory agencies, police, and fire within the city, county, and operational area? |
|  | Does your nursing home have a plan to conduct regular media briefings in collaboration with local emergency management, local EOC, and the local Joint Information Center? |
| RESPONSE & RECOVERY |  |
|  | Does your nursing home have procedures to perform damage assessment (interior and exterior), report nursing home damage to the Incident Commander, and initiate appropriate repairs during and after the storm(s) and flooding of the facility? |
|  | Does your nursing home have plans for decontamination and clean-up of the nursing home including bacteriological surveillance and potable water supply sanitation? |
|  | Does your nursing home have a process to determine the need for canceling nonessential services (social gatherings, meetings, etc.)? |
|  | Does your nursing home have procedures to evaluate need for additional staff, augment staffing levels, or manage with staff available? Is there a plan to modify contingency staff utilization and provide staff support (alternate shifts and staffing, childcare contingency plan for staff, staff transportation needs, etc.)? |
|  | Does your nursing home have a plan to provide rest/sleep, nutrition, and hydration to staff? |
|  | Does your nursing home have a process to determine the need for shelter-in-place vs. partial evacuation vs. complete evacuation of the nursing home to protect residents and staff? |
|  | Does your nursing home have criteria or triggers to move residents from flooded areas to other locations within the facility (partial evacuation)? |
|  | Does your nursing home have a plan for complete evacuation of residents, including transport of critical records and supplies, arrangements with receiving facilities and transportation assets, staffing en route and in the relocation site? |
|  | Does your nursing home have procedures to track residents and beds in the event of an evacuation? |
|  | Does your nursing home’s evacuation transportation plan include the use of assets other than local EMS for transporting residents? |
|  | Does your nursing home have a plan to establish alternate care sites and relocate services provided if transfer is not feasible? |

|  | Does your nursing home have, if not evacuating, a plan to maintain continuity of operations including trash, food, linen, laundry, etc.? |
| --- | --- |
|  | Does your nursing home have a process to assess residents for early discharge to decrease occupancy? |
|  | Does your nursing home have a process to determine the need to limit resident visitation? |
|  | Does your nursing home have a plan to secure the nursing home, including adequate personnel to assure security? |
|  | Does your nursing home have a process to assess damage to building structure and infrastructure (HVAC, water, sewage, lighting, power, information systems, communications, medical gases, and hazardous materials)? |
|  | Does your nursing home have protocols to manage, treat (or refer for treatment), and report injuries to residents, staff, families and visitors? Is there a process to prepare a report of all residents, staff, families, and visitors evaluated, treated, and discharged from the facility? |
|  | Does your nursing home have a process to inventory available supplies, medications, equipment and personnel for both short and long-term operations? Does this include a process for obtaining supply and equipment supplementation? |
|  | Does your nursing home have a process for determining food and water needs for residents, visitors, families, and staff for 96-hours and a plan for obtaining needed supplies? |
|  | Does your nursing home have a plan to access outside resources through a medical mutual aid system? |
|  | Does your nursing home have a plan to keep resident/staff families notified of current situation, location, condition, and safety measures taken to protect them? |
|  | Does your nursing home have a plan for demobilization and system recovery that is activated during emergency response? Does this include a procedure for prioritizing service restoration activities, including restoring medical care operations, visitation, and nonessential operations (social activities, meetings, etc.)? |
|  | Does your nursing home have procedures for repatriation of patients that were transferred or evacuated? |
|  | Does your nursing home have a process for reporting all injuries, system failures, and long-term damage to state licensing and certification authorities as required? |
|  | Does your nursing home have a plan for providing mental health support and stress management services to staff, residents, and families? |
|  | Does your nursing home have procedures for reordering, restocking, and returning borrowed supplies, equipment, and medications, and returning personnel on loan during the incident? |
|  | Does your nursing home have procedures for after-action reporting and developing an improvement plan based on lessons learned? Is there a plan to participate in after-action review with local emergency management and community partners? |
|  | Does your nursing home have criteria to confirm restoration of the facility to normal function? |
|  | Does your nursing home have a process for submitting cost for disaster reimbursement from insurance carriers, local, state and federal disaster relief? |